## Products
Business Area | Item # | Short Description (40 Characters) | Long Description (Unlimited Characters) | Component Qty | UOM (units of measure) | Gross Weight (Kg) | Gross Weight (lbs) | Net weight (Kg) | Net weight (lbs) | Length (cm) | Width (cm) | Height (cm) | Length (inch) | Width (inch) | Height (inch) | UNSPSC Code | Harmonization Code | Harmonization Code NA (10 digits) | Country of Origin | CE Marked? (electrical) | CE Marked? (MD / IVD) | Sterile? | Medical Device? | If Medical Device, which class?（EU) | If Medical Device, which class? (NA) | EAN Number (only for Medical Devices) | Batteries? | The types of battery | Hazardous materials | If hazardous, CAS-No | Hazard statement | California Prop. 65 (Any carcinogenic chemicals or substances inducing birth defects in the product or used in manufacturing process?) | Special Shipping Requirements | Green product? (100% renewable electricity at manufacturing site) | Image Link (if available) | Available from | Replaces
Lab Water | H2O-MAR-T | Arium® Mini Plus Extend Ultrapure Water System | Arium® Mini Plus Extend Combined water treatment system with flexible dispense unit, for the production of Type 1 ultrapure (1 l/min) and Type 3 pure water (8 l/h). Installation as table-top device. Included: · System with dispense unit · Installation kit · Power plug (country-specific) 1 pc/pack | 1 | EA | 18.6 | 41 | 14 | 30.86 | 70 | 69 | 45 | 27.56 | 27.17 | 17.72 | 41104206 | 84212100 | 8421210000 | DE | Yes | No | No | No | N.A. | N.A. | N.A. | Yes | CR2032 | No | N.A. | N.A. | N.A. | No | No | https://we.tl/t-YEFekjToqw
Lab Water | H2O-MAR-UV-T | Arium® Mini Plus UV Extend Ultrapure Water System | Arium® Mini Plus UV Extend Combined water treatment system with flexible dispense unit, for the production of Type 1 ultrapure (1 l/min) and Type 3 pure water (8 l/h). Including UV lamp for the removal of organic impurities. Installation as table-top device. Included: · System with dispense unit · UV Lamp (pre-installed) | 1 | EA | 18.6 | 41 | 14 | 30.86 | 70 | 69 | 45 | 27.56 | 27.17 | 17.72 | 41104206 | 84212100 | 8421210000 | DE | Yes | No | No | No | N.A. | N.A. | N.A. | Yes | CR2032 | No | N.A. | N.A. | N.A. | No | No | https://we.tl/t-YEFekjToqw
Lab Water | H2O-MUR-T | Arium® Mini Essential Extend Ultrapure Water System | Arium® Mini Essential Extend Water treatment system with flexible dispense unit, for the production of Type 1 ultrapure water (1 l/min). Installation as tabletop device. Included: · System with dispense unit · Installation kit · Power plug (country-specific) 1 pc/pack | 1 | EA | 18.6 | 41 | 14 | 30.86 | 70 | 69 | 45 | 27.56 | 27.17 | 17.72 | 41104206 | 84212100 | 8421210000 | DE | Yes | No | No | No | N.A. | N.A. | N.A. | Yes | CR2032 | No | N.A. | N.A. | N.A. | No | No | https://we.tl/t-YEFekjToqw
Lab Water | H2O-MUR-UV-T | Arium® Mini Essential UV Extend Ultrapure Water System | Arium® Mini Essential UV Extend Water treatment system with flexible dispense unit, for the production of Type 1 ultrapure water (1 l/min). Including UV lamp for the removal of organic impurities. Installation as table-top device. Included: · System with dispense unit · UV Lamp (pre-installed) · Installation kit · Power plug (country-specific) 1 pc/pack | 1 | EA | 18.6 | 41 | 14 | 30.86 | 70 | 69 | 45 | 27.56 | 27.17 | 17.72 | 41104206 | 84212100 | 8421210000 | DE | Yes | No | No | No | N.A. | N.A. | N.A. | Yes | CR2032 | No | N.A. | N.A. | N.A. | No | No | https://we.tl/t-YEFekjToqw