## Product
Business Area | Item # | Short Description (40 Characters) | Long Description (Unlimited Characters) | Shelf Life (Days, If applicable) | Lead Time (Days) | Component Qty | UOM (units of measure) | Gross Weight (Kg) | Gross Weight (lbs) | Net weight (Kg) | Net weight (lbs) | Length (cm) | Width (cm) | Height (cm) | Length (inch) | Width (inch) | Height (inch) | UNSPSC Code | Harmonization Code | Harmonization Code NA (10 digits) | Country of Origin | CE Marked? (electrical) | CE Marked? (MD / IVD) | Sterile? | Medical Device? | If Medical Device, which class?（EU) | If Medical Device, which class? (NA) | EAN Number (only for Medical Devices) | Batteries? | The types of battery | Hazardous materials | If hazardous, CAS-No | Hazard statement | California Prop. 65 (Any carcinogenic chemicals or substances inducing birth defects in the product or used in manufacturing process?) | Special Shipping Requirements | Green product? (100% renewable electricity at manufacturing site) | Image Link (if available) | Search Keywords | Available from | Replaces
LWG | MCA1004MC | Manual Mass Comparator 1110 g, 0.1 mg | Cubis II mass comparator to determine differences in mass and to calibrate mass standards and weights; maximum capacity 1110 g, readability 0.1 mg | N/A | 60 | 1 | EA | 18.22 | 40.1569 | 13.87 | 30.5695 | 70 | 48 | 62 | 27.51 | 18.864 | 24.366 | 41111502 | 90160010 | 9016002000 | DE | Yes | No | No | No | N/A | N/A | N/A | Yes | CR2032 | No | N/A | N/A | Not Relevant | No | Yes | https://we.tl/t-jv5MDQtLzr | Manual mass comparator; Mass metrology; Calibration of Mass; Mass Standard; Air Buoyancy Correction Of Weights; Air Buoyancy Determination Of Weights; ASTM E617-13;Calibration Certificate Of Weights;Conventional Mass;Density Of Weights;Expanded Measuring Uncertainty;Magnetic Susceptibility Of Weights;Magnetization Of Weights;Manual Mass Comparators;Mass Comparator;Mass Comparator Drift Correction;Mass Comparator Drift Elimination;Mass Dissemination;Mass Metrology;;Measuring Calculation Of Mass Determination;Measuring Uncertainty Of Mass Calibration;Metrological Weight Classes;OIML R 111-1 International Recommendation;Standard Deviation Of Mass Comparator;Standard Specification For Weights;Temperature Of Weights;Weight Class E1;Weight Class E2;Weight Class F1;Weight Class F2;Weight Class M1;Weight Class M2 | 2024-09-01 | MCM1004
LWG | MCA1005MC | Manual Mass Comparator 1110 g, 0.01 mg | Cubis II mass comparator to determine differences in mass and to calibrate mass standards and weights; maximum capacity 1110 g, readability 10 µg | N/A | 60 | 1 | EA | 18.22 | 40.1569 | 13.65 | 30.0846 | 70 | 48 | 62 | 27.51 | 18.864 | 24.366 | 41111502 | 90160010 | 9016002000 | DE | Yes | No | No | No | N/A | N/A | N/A | Yes | CR2032 | No | N/A | N/A | Not Relevant | No | Yes | https://we.tl/t-jv5MDQtLzr | Manual mass comparator; Mass metrology; Calibration of Mass; Mass Standard; Air Buoyancy Correction Of Weights; Air Buoyancy Determination Of Weights; ASTM E617-13;Calibration Certificate Of Weights;Conventional Mass;Density Of Weights;Expanded Measuring Uncertainty;Magnetic Susceptibility Of Weights;Magnetization Of Weights;Manual Mass Comparators;Mass Comparator;Mass Comparator Drift Correction;Mass Comparator Drift Elimination;Mass Dissemination;Mass Metrology;;Measuring Calculation Of Mass Determination;Measuring Uncertainty Of Mass Calibration;Metrological Weight Classes;OIML R 111-1 International Recommendation;Standard Deviation Of Mass Comparator;Standard Specification For Weights;Temperature Of Weights;Weight Class E1;Weight Class E2;Weight Class F1;Weight Class F2;Weight Class M1;Weight Class M2 | 2024-09-01 | MCM1005
LWG | MCA106MC | Manual Mass Comparator 111 g, 0.001 mg | Cubis II mass comparator to determine differences in mass and to calibrate mass standards and weights; maximum capacity 111 g, readability 1 µg | N/A | 60 | 1 | EA | 20.6 | 45.4024 | 16.1 | 35.4844 | 70 | 48 | 81 | 27.51 | 18.864 | 31.833 | 41111502 | 90160010 | 9016002000 | DE | Yes | No | No | No | N/A | N/A | N/A | Yes | CR2032 | No | N/A | N/A | Not Relevant | No | Yes | https://we.tl/t-jv5MDQtLzr | Manual mass comparator; Mass metrology; Calibration of Mass; Mass Standard; Air Buoyancy Correction Of Weights; Air Buoyancy Determination Of Weights; ASTM E617-13;Calibration Certificate Of Weights;Conventional Mass;Density Of Weights;Expanded Measuring Uncertainty;Magnetic Susceptibility Of Weights;Magnetization Of Weights;Manual Mass Comparators;Mass Comparator;Mass Comparator Drift Correction;Mass Comparator Drift Elimination;Mass Dissemination;Mass Metrology;;Measuring Calculation Of Mass Determination;Measuring Uncertainty Of Mass Calibration;Metrological Weight Classes;OIML R 111-1 International Recommendation;Standard Deviation Of Mass Comparator;Standard Specification For Weights;Temperature Of Weights;Weight Class E1;Weight Class E2;Weight Class F1;Weight Class F2;Weight Class M1;Weight Class M2 | 2024-09-01 | MCM106
LWG | MCA206MC | Manual Mass Comparator 211 g, 0.001 mg | Cubis II mass comparator to determine differences in mass and to calibrate mass standards and weights; maximum capacity 211 g, readability 1 µg | N/A | 60 | 1 | EA | 20.6 | 45.4024 | 16.1 | 35.4844 | 70 | 48 | 81 | 27.51 | 18.864 | 31.833 | 41111502 | 90160010 | 9016002000 | DE | Yes | No | No | No | N/A | N/A | N/A | Yes | CR2032 | No | N/A | N/A | Not Relevant | No | Yes | https://we.tl/t-jv5MDQtLzr | Manual mass comparator; Mass metrology; Calibration of Mass; Mass Standard; Air Buoyancy Correction Of Weights; Air Buoyancy Determination Of Weights; ASTM E617-13;Calibration Certificate Of Weights;Conventional Mass;Density Of Weights;Expanded Measuring Uncertainty;Magnetic Susceptibility Of Weights;Magnetization Of Weights;Manual Mass Comparators;Mass Comparator;Mass Comparator Drift Correction;Mass Comparator Drift Elimination;Mass Dissemination;Mass Metrology;;Measuring Calculation Of Mass Determination;Measuring Uncertainty Of Mass Calibration;Metrological Weight Classes;OIML R 111-1 International Recommendation;Standard Deviation Of Mass Comparator;Standard Specification For Weights;Temperature Of Weights;Weight Class E1;Weight Class E2;Weight Class F1;Weight Class F2;Weight Class M1;Weight Class M2 | 2024-09-01 | MCM206
LWG | MCA36MC | Manual Mass Comparator 32 g, 0.001 mg | Cubis II mass comparator to determine differences in mass and to calibrate mass standards and weights; maximum capacity 32 g, readability 1 µg | N/A | 60 | 1 | EA | 20.6 | 45.4024 | 16.1 | 35.4844 | 70 | 48 | 81 | 27.51 | 18.864 | 31.833 | 41111502 | 90160010 | 9016002000 | DE | Yes | No | No | No | N/A | N/A | N/A | Yes | CR2032 | No | N/A | N/A | Not Relevant | No | Yes | https://we.tl/t-jv5MDQtLzr | Manual mass comparator; Mass metrology; Calibration of Mass; Mass Standard; Air Buoyancy Correction Of Weights; Air Buoyancy Determination Of Weights; ASTM E617-13;Calibration Certificate Of Weights;Conventional Mass;Density Of Weights;Expanded Measuring Uncertainty;Magnetic Susceptibility Of Weights;Magnetization Of Weights;Manual Mass Comparators;Mass Comparator;Mass Comparator Drift Correction;Mass Comparator Drift Elimination;Mass Dissemination;Mass Metrology;;Measuring Calculation Of Mass Determination;Measuring Uncertainty Of Mass Calibration;Metrological Weight Classes;OIML R 111-1 International Recommendation;Standard Deviation Of Mass Comparator;Standard Specification For Weights;Temperature Of Weights;Weight Class E1;Weight Class E2;Weight Class F1;Weight Class F2;Weight Class M1;Weight Class M2 | 2024-09-01 | MCM36
LWG | MCA605MC | Manual Mass Comparator 610 g, 0.01 mg | Cubis II mass comparator to determine differences in mass and to calibrate mass standards and weights; maximum capacity 610 g, readability 10 µg | N/A | 60 | 1 | EA | 20.6 | 45.4024 | 16.1 | 35.4844 | 70 | 48 | 81 | 27.51 | 18.864 | 31.833 | 41111502 | 90160010 | 9016002000 | DE | Yes | No | No | No | N/A | N/A | N/A | Yes | CR2032 | No | N/A | N/A | Not Relevant | No | Yes | https://we.tl/t-jv5MDQtLzr | Manual mass comparator; Mass metrology; Calibration of Mass; Mass Standard; Air Buoyancy Correction Of Weights; Air Buoyancy Determination Of Weights; ASTM E617-13;Calibration Certificate Of Weights;Conventional Mass;Density Of Weights;Expanded Measuring Uncertainty;Magnetic Susceptibility Of Weights;Magnetization Of Weights;Manual Mass Comparators;Mass Comparator;Mass Comparator Drift Correction;Mass Comparator Drift Elimination;Mass Dissemination;Mass Metrology;;Measuring Calculation Of Mass Determination;Measuring Uncertainty Of Mass Calibration;Metrological Weight Classes;OIML R 111-1 International Recommendation;Standard Deviation Of Mass Comparator;Standard Specification For Weights;Temperature Of Weights;Weight Class E1;Weight Class E2;Weight Class F1;Weight Class F2;Weight Class M1;Weight Class M2 | 2024-09-01 | MCM605
LWG | MCA66MC | Manual Mass Comparator 61 g, 0.001 mg | Cubis II mass comparator to determine differences in mass and to calibrate mass standards and weights; maximum capacity 61 g, readability 1 µg | N/A | 60 | 1 | EA | 20.6 | 45.4024 | 16.1 | 35.4844 | 70 | 48 | 81 | 27.51 | 18.864 | 31.833 | 41111502 | 90160010 | 9016002000 | DE | Yes | No | No | No | N/A | N/A | N/A | Yes | CR2032 | No | N/A | N/A | Not Relevant | No | Yes | https://we.tl/t-jv5MDQtLzr | Manual mass comparator; Mass metrology; Calibration of Mass; Mass Standard; Air Buoyancy Correction Of Weights; Air Buoyancy Determination Of Weights; ASTM E617-13;Calibration Certificate Of Weights;Conventional Mass;Density Of Weights;Expanded Measuring Uncertainty;Magnetic Susceptibility Of Weights;Magnetization Of Weights;Manual Mass Comparators;Mass Comparator;Mass Comparator Drift Correction;Mass Comparator Drift Elimination;Mass Dissemination;Mass Metrology;;Measuring Calculation Of Mass Determination;Measuring Uncertainty Of Mass Calibration;Metrological Weight Classes;OIML R 111-1 International Recommendation;Standard Deviation Of Mass Comparator;Standard Specification For Weights;Temperature Of Weights;Weight Class E1;Weight Class E2;Weight Class F1;Weight Class F2;Weight Class M1;Weight Class M2 | 2024-09-01 | MCM66